## Scan file hierarchy
Hierarchy for a hdf5 Scan file produced by the DAQ_Scan module
node name					Pytables Node CLASS GROUP if not specified	Attribute « type » used for correct representation within h5browser	XML Parameter attribute	Attribute « data_dimension »	Attribute « scan_type »	Remarks
Raw_datas	-------------------------------------------------------------------------------------					dataset	settings
└	Logger	---------------------------------------------------------------------				VLARRAY	log
└	Scan000	---------------------------------------------------------------------					scan	settings
└	…	---------------------------------------------------------------------					scan	settings
└	Scan00n	---------------------------------------------------------------------					scan	settings
	└	Move000	-----------------------------------------------------				move	settings
	└	Move001	-----------------------------------------------------				move	settings
	└	Detector000	-----------------------------------------------------				detector	settings
	└	…	-----------------------------------------------------				detector	settings
	└	Detector00n	-----------------------------------------------------				detector	settings
		└	Data0D	------------------------------------
			└	Ch000	--------------------
				└	Data	CARRAY	data		0D	scan2D
			└	Ch00n	--------------------
				└	Data	CARRAY	data		0D	scan2D
		└	Data1D	------------------------------------
				Ch000	--------------------
				Ch00n	--------------------
				└	Data	CARRAY	data		1D	scan2D
				└	X_axis	CARRAY	axis		1D
		└	Data2D	------------------------------------
			└	Ch000	--------------------
			└	Ch00n	--------------------
				└	Data	CARRAY	data		2D	scan2D
				└	X_axis	CARRAY	axis		1D
				└	Y_axis	CARRAY	axis		1D
	└	Live_scan1D	-----------------------------------------------------
		└	Ch000	------------------------------------
		└	Ch00n	------------------------------------
			└	Data	--------------------	CARRAY	data		0D/1D/2D	scan1D
			└	X_axis	--------------------	CARRAY	axis		1D
	└	Live_scan2D	-----------------------------------------------------
		└	Ch000	------------------------------------
		└	Ch00n	------------------------------------
			└	Data	--------------------	CARRAY	data		0D/1D/2D	scan2D
			└	X_axis	--------------------	CARRAY	axis		1D
			└	Y_axis	--------------------	CARRAY	axis		1D
	└	Scan_x_axis	-----------------------------------------------------			CARRAY	navigation_axis		1D
	└	Scan_y_axis	-----------------------------------------------------			CARRAY	navigation_axis		1D

## Feuille2
Hierarchy for a hdf5 continuous file produced by the DAQ_Viewer module

node name					Pytables Node CLASS GROUP if not specified	Attribute « type » used for correct representation within h5browser	XML Parameter attribute	Attribute « data_type »	Attribute « scan_type »	Remarks
Raw_datas	-------------------------------------------------------------------------------------					dataset	settings
└	logging	---------------------------------------------------------------------			VLARRAY	log
└	Det000	-----------------------------------------------------				detector	settings
└	…	-----------------------------------------------------				detector	settings
└	Det00n	-----------------------------------------------------				detector	settings
	└	Data0D	------------------------------------
		└	CH000	--------------------	CARRAY	channel0D		0D	scan2D
		└	CH00n	--------------------	CARRAY	channel0D		0D	scan2D
	└	Data1D	------------------------------------
			CH000	--------------------		/
			CH00n	--------------------		/
			└	Data	CARRAY	channel1D		1D	scan2D
			└	x_axis	CARRAY	axis		1D
	└	Data2D	------------------------------------
		└	CH000	--------------------		/
		└	CH00n	--------------------		/
			└	Data	CARRAY	channel2D		2D	scan2D
			└	x_axis	CARRAY	axis		1D
			└	y_axis	CARRAY	axis		1D
└	Live_scan1D	-----------------------------------------------------				live_scan
	└	Scan_Data_000	------------------------------------		CARRAY	data		1D
	└	Scan_Data_001	------------------------------------		CARRAY	data		1D
	└	scan_x_axis	------------------------------------		CARRAY	axis		1D
└	Live_scan2D	-----------------------------------------------------				live_scan
	└	Scan_Data_000	------------------------------------		CARRAY	data		2D
	└	Scan_Data_001	------------------------------------		CARRAY	data		2D
	└	Scan_Data_002	------------------------------------		CARRAY	data		2D
	└	scan_x_axis	------------------------------------		CARRAY	axis		1D
	└	scan_y_axis	------------------------------------		CARRAY	axis		1D
└	scan_x_axis	-----------------------------------------------------			CARRAY	navigation_axis		1D
└	scan_x_axis_unique		------------------------------------		CARRAY	navigation_axis		1D
└	scan_y_axis	-------------------------------------------------------	------------------------------------		CARRAY	navigation_axis		1D
└	scan_x_axis_unique		------------------------------------		CARRAY	navigation_axis		1D